## EDT Supplemental 2025-07-14
Field Name | Codes and Criteria | Length | Type | Min Required | Description | XML Tag | Identifier
Violation Begin Date | - | 10 | Date | TRUE | Date the Violation Library entry is effective (first available for use). | BeginDate | CERS0001
Business Name | - | 255 | Alphanumeric | TRUE | The name of the business or organization that owns/operates a facility. The name is typically the legal or corporate name for the business, but may be based on some other convention depending upon the business' electronic reporting needs. For businesses reporting on only one facility, the business name and facility name are typically the same. | BusinessName | CERS0002
Violation Category | - | 100 | Alphanumeric | TRUE | Violation Category. The Violation Category is already reflected in digits 3 and 4 of the Violation Type Number. | Category | CERS0003
CERS ID | - | 10 | Numeric | TRUE | A CERS ID is a Cal/EPA-assigned, 8 or 10 digit ID to uniquely identify a facility in CERS. The CERS ID is unique for a phyical location & owner/operator combination. | CERSID | CERS0004
Citations | - | - | Alphanumeric | TRUE | Citations related to the Violations. | Citations | CERS0005
Facility City | - | 60 | Alphanumeric | TRUE | City or locality name in which the facility/site is physically located. | City | CERS0006
Facility City | - | 60 | Alphanumeric | TRUE | Standardized Facility City. | City | CERS0007
Data Collection Date | - | - | Date | TRUE | The calendar date when data was collected. | DataCollectionDate | CERS0008
Violation Description | - | - | Alphanumeric | TRUE | Description of the Violation. | Description | CERS0009
Violation End Date | - | 10 | Date | TRUE | Last date the Violation Library entry was available for use. | EndDate | CERS0010
Created On | - | 10 | Date | FALSE | Date Business created in CERS. | EstablishedOn | CERS0011
Created On | - | 10 | Date | FALSE | Date Facility created in CERS. | EstablishedOn | CERS0012
Facility Count | - | - | Numeric | FALSE | Count of facilities within the Business. | FacilityCount | CERS0013
Local Facility ID Number | - | 13 | Alphanumeric | FALSE | A facility identifier assigned by the local regulator supporting cross-linking of CERS and local data system records. | FacilityID | CERS0014
Facility Name | - | 80 | Alphanumeric | TRUE | The name of the facility at a specific site address. | FacilityName | CERS0015
FacilityRegulatorKey | - | 36 | Alphanumeric | FALSE | The Regulator's unique identifier for the Facility. Recommend using UUID but any alphanumeric value is accepted. | FacilityRegulatorKey | CERS0016
Facility Status | 1 Draft 2 Active 3 Abandon 4 Non-regulated 5 Closed | - | Alphanumeric | TRUE | Status of the facility. | FacilityStatus | CERS0017
Geographic Reference Point | 101 = Facility Entrance 102 = Facility Center/Centroid 103 = Facility Boundary 108 = Other/Unknown | - | Numeric | TRUE | The code that represents the place for which geographic coordinates were established. | GeographicReferencePoint | CERS0018
Horizontal Accuracy Measure | - | 7 | Numeric | TRUE | The horizontal measure, in meters, of the relative accuracy of the latitude and longitude coordinates. | HorizontalAccuracyMeasure | CERS0019
Horizontal Collection Method | 101 = Address Matching 103 = GPS 104 = Interpolation 107 = Classical Surveying Techniques 108 = ZIP Code 109 = Unknown | - | Numeric | TRUE | The code that represents the method used to determine the latitude and longitude coordinates for a point on the earth. | HorizontalCollectionMethod | CERS0020
Horizontal Reference Datum | NAD27 = North American Datum of 1927 NAD83 = North American Datum of 1983 WGS84 = World Geodetic System of 1984 | - | Alphanumeric | TRUE | The code that represents the reference datum used in determining latitude and longitude coordinates. | HorizontalReferenceDatum | CERS0021
IsMJB | - | - | Boolean | FALSE | Identify if Business is MJB or not. | IsMJB | CERS0022
Last Submittal On | - | - | Date | FALSE | Date of last submittal submitted by Facility and/or Business. | LastSubmittalOn | CERS0023
Last Submittal Date |  | - | Date | FALSE | Date of last submittal submitted by Facility and/or Business. | LastSubmittalDate | CERS0024
Latitude Measure | - | 13 | Alphanumeric | TRUE | The angular distance north or south of the earth's equator, measured in units of decimal degrees along a meridian. | LatitudeMeasure | CERS0025
Lead Regulator Code | - | - | Numeric | TRUE | Lead Regulator for Business. | LeadRegulatorCode | CERS0026
Longitude Measure | - | 13 | Alphanumeric | TRUE | The angular distance east or west of the prime meridian, measured in units of decimal degrees. | LongitudeMeasure | CERS0027
Violation Name | - | 1000 | Alphanumeric | TRUE | Name of Violation. | Name | CERS0028
Next Due Date | - | - | Date | FALSE | A regulator-assigned date when the facility owner/operator should next submit a specific submittal element. This is an optional field/feature regulator can choose to use for reporting and to trigger overdue alerts to CERS-based business users. | NextDueDate | CERS0029
OrganizationCode | - | 10 | Numeric | TRUE | A permanent 9 or 10 digit, CERS-generated code used to identify an organization responsible for one or more regulated facilities. Every facility/CERSID is actively associated with only 1 Organization. | OrganizationCode | CERS0030
Organization Headquarters | - | 75 | Alphanumeric | FALSE | Additional information (such as corporate office location, etc) to assist in making a Organization or Business name unique. | OrganizationHeadquarters | CERS0031
Origin | 1 EDT 2 Business 3 Cal/EPA 4 Letter 5 Seeding 6 CUPA |  | Alphanumeric | FALSE | Method by which the Business was established. | Origin | CERS0032
Violation Program Element | - | 100 | Alphanumeric | TRUE | Violation Program Element | ProgramElement | CERS0033
Regulator Code | - | - | Numeric | FALSE | A permanent 4 digit, CERS-assigned code used to identify and track the actions of a specific regulator (UPA/PA). For a CUPA without any PAs, this code will always be the CUPA's code. For CUPAs with PAs, this code should reflect the UPA responsible for a submittal record. | RegulatorCode | CERS0034
Submittal Element Reporting Requirement | 1 Not Applicable 2 Applicable 3 Always Applicable | - | Numeric | TRUE | Indicates if a facility has or is required to complete a submittal element. By default, all submittal elements (except Facility Information) are set to "Not Applicable." The first time a reporter indicates an element is relevant on the Business Activities form (or when CERS receive the first EDT transaction for that facility/element), a submittal element for that facility is set to "Applicable." Regulators or reporters can opt to set a submittal element to "Not Applicable," to signify the facility no longer needs to report on an element they may have previously reported on, and regulators can set this status to "Always Applicable" to force a reporter to complete a submittal element (via the CERS UI). | ReportingRequirement | CERS0035
Facility Address | - | 70 | Alphanumeric | TRUE | Street address where facility is located. No post office box numbers are allowed. This information must provide a means to geographically locate the facility. The "Supplemental Location Text" field can also be used to capture additional information where the facility's formal address is unclear or not available. | SiteAddress | CERS0036
Facility Address | - | 70 | Alphanumeric | TRUE | Standardized Facility Address. | SiteAddress | CERS0037
Supplemental Location Text | - | 30 | Alphanumeric | FALSE | Contains additional locational information where the formal address is unclear or not available. | SiteAddressSupplemental | CERS0038
Parsed Street Name | - | - | Alphanumeric | FALSE | Standardized Street Name. | StreetName | CERS0039
Parsed Street Post Direction | - | - | Alphanumeric | FALSE | Standardized Street Post Direction. | StreetPostDirection | CERS0040
Parsed Street Pre Direction | - | - | Alphanumeric | FALSE | Standardized Street Pre Direction. | StreetPreDirection | CERS0041
Parsed Street Range | - | - | Alphanumeric | FALSE | Standardized Street Range. | StreetRange | CERS0042
Parsed Street Suffix | - | - | Alphanumeric | FALSE | Standardized Street Suffix. | StreetSuffix | CERS0043
Suite | - | 50 | Alphanumeric | FALSE | Standardized Suite. | Suite | CERS0044
Violation Type Number | - | 7 | Alphanumeric | TRUE | 4 or 7-digit Unique Identifier for each entry in the Violation Library. | TypeNumber | CERS0045
User Count | - | - | Numeric | FALSE | Count of Business Users within the Business. | UserCount | CERS0046
Facility ZIP Code | - | 10 | Alphanumeric | TRUE | A valid, California ZIP code for the facility/site. | ZipCode | CERS0047
Facility ZIP Code | - | 10 | Alphanumeric | TRUE | Standardized Facility Zip Code. | ZipCode | CERS0048
Supplemental Location Text | - | 30 | Alphanumeric | FALSE | Contains additional locational information where the formal address is unclear or not available. | SupplementalAddress | CERS0049
Designated Operator Name |  | 255 | Alphanumeric | Conditional | The name of a designated operator at the UST facility. | DOName | CERS0050
DO ICC Certification Number |  | 35 | Alphanumeric | Conditional | The ICC Certification Number of a Designated Operator associated with the facility. | DOICCCertification | CERS0051
DO Mailing Address |  | 80 | Alphanumeric | Conditional | The mailing address provided for the Designated Operator. | DOAddress | CERS0052
DO Mailing Address City |  | 60 | Alphanumeric | Conditional | The Designated Operator mailing address city. | DOAddressCity | CERS0053
DO Mailing Address State |  | 2 | Alphanumeric | Conditional | The Designated Operator mailing address state. | DOAddressState | CERS0054
DO Mailing Address Zip Code |  | 10 | Alphanumeric | Conditional | The Designated Operator mailing address zip code. | DOAddressZip | CERS0055
DO Phone Number |  | 25 | Alphanumeric | Conditional | The Designated Operator's phone number. | DOPhone | CERS0056
CDTFA Account Number |  | 9 | Alphanumeric | TRUE | California Department of Tax and Fee Administration, in cooperation with the State Water Resources Control Board, administers a program to provide revenue for the Underground Storage Tank Cleanup Fund in the General Fund. The “UST Maintenance Fee” is collected from the owner of an underground storage tank based on the number of gallons of petroleum placed in the tank during the reporting period. UST owners must register with CDTFA at: https://www.cdtfa.ca.gov/taxes-and-fees/fuel-tax-and-fee-guides/underground-storage-tank-maintenance-fee/ CDTFA contact information is: 1-800-400-7115 California Department of Tax and Fee Administration P.O. Box 942879 Sacramento, CA 94279 | CDTFANumber | CERS0057
Facility Type (UST Facility) | Motor Vehicle Fueling ¦ Fuel Distribution ¦ Farm ¦ Processor ¦ Other | 1 | Alphanumeric | TRUE | Type of UST facility. | FacilityType | CERS0058
Indian or Trust Land | Yes ¦ No | 1 | Boolean | TRUE | Indicates if facility is located on Indian reservation or other trust lands. | IndianOrTrustLand | CERS0059
Name of First Person Having UST Responsibility |  | 80 | Alphanumeric | TRUE | Name of first person having responsibility for UST monitoring. | FirstNameResponsibility | CERS0060
Name of Second Person Having UST Responsibility |  | 80 | Alphanumeric | FALSE | Name of second person having responsibility for UST monitoring. | SecondNameResponsibility | CERS0061
Number of Monitoring Panels |  | 3 | Numeric | TRUE | The number of Monitoring Panels used at the site. | MonitoringPanelCount | CERS0062
Permit Holder Notification Information | Facility Owner ¦ Facility Operator ¦ Tank Owner ¦ Tank Operator | 1 | Alphanumeric | TRUE | Party to whom UST permit is issued and legal notifications and mailings should be sent. | PermitHolderInfo | CERS0063
Supervisor of Division, Section, or Office (Required for Public Agencies Only) |  | 80 | Alphanumeric | TRUE | Contact person for tank records, if facility owner is a public agency. | SDSOffice | CERS0064
Tank Operator City |  | 60 | Alphanumeric | TRUE | City of UST operator, if different from business owner. | TankOperatorCity | CERS0065
Tank Operator Country |  | 45 | Alphanumeric | TRUE | Tank Operator's Country. | TankOperatorCountry | CERS0066
Tank Operator E-mail |  | 254 | Alphanumeric | FALSE | E-mail to contact the UST Operator | TankOperatorEmail | CERS0067
Tank Operator Mailing Address |  | 70 | Alphanumeric | TRUE | Mailing address of UST operator, if different from business owner. | TankOperatorMailingAddress | CERS0068
Tank Operator Name |  | 80 | Alphanumeric | TRUE | Full name of UST operator. | TankOperatorName | CERS0069
Tank Operator Phone |  | 25 | Alphanumeric | TRUE | Phone number of UST operator, if different from business owner on UPCF Business Owner/Operator Identification page. | TankOperatorPhone | CERS0070
Tank Operator State |  | 2 | Alphanumeric | TRUE | US state or Canadian province/territory postal code of tank operator, if different from tank owner. | TankOperatorState | CERS0071
Tank Operator ZIP Code |  | 10 | Alphanumeric | TRUE | ZIP code (or international postal code) of UST operator, if different from business owner. | TankOperatorZipCode | CERS0072
Tank Owner City |  | 60 | Alphanumeric | TRUE | <div>City of tank owner, if different from business owner. | TOwnerCity | CERS0073
Tank Owner Country |  | 45 | Alphanumeric | TRUE | Tank Owner's Country. | TOwnerCountry | CERS0074
Tank Owner Mailing Address |  | 70 | Alphanumeric | TRUE | Mailing address of tank owner, if different from business owner on UPCF Business Owner/Operator Identification page. | TOwnerMailingAddress | CERS0075
Tank Owner Name |  | 80 | Alphanumeric | TRUE | Full name of tank owner. | TOwnerName | CERS0076
Tank Owner Phone |  | 25 | Alphanumeric | TRUE | Phone number of tank owner, if different from business owner on UPCF Business Owner/Operator Identification page. | TOwnerPhone | CERS0077
Tank Owner State |  | 2 | Alphanumeric | TRUE | US state or Canadian province/territory postal code of tank owner, if different from business owner on UPCF Business Owner/Operator Identification page. | TOwnerState | CERS0078
Tank Owner Type | Local Agency/District ¦ County Agency ¦ State Agency ¦ Federal Agency ¦ Non-Government | 1 | Alphanumeric | TRUE | Type of UST owner. | TOwnerType | CERS0079
Tank Owner ZIP Code |  | 10 | Alphanumeric | TRUE | ZIP code (or international postal code) of tank owner if different from business owner on UPCF Business Owner/Operator Identification page. | TOwnerZipCode | CERS0080
Title of First Person Having UST Responsibility |  | 50 | Alphanumeric | TRUE | Title of first person having responsibility for UST monitoring. | FirstTitleResponsibility | CERS0081
Title of Second Person Having UST Responsibility |  | 50 | Alphanumeric | FALSE | Title of second person having responsibility for UST monitoring. | SecondTitleResponsibility | CERS0082
Transition Sump Count |  | 3 | Numeric | TRUE | The number of transition sumps at the site. | TransitionalSumpCount | CERS0083
Under Dispenser Containment (UDC) Count | must be = or > 0 | 3 | Numeric | TRUE | Specify number of under dispenser containments (UDC) present at facility. | UDCCount | CERS0084
Coverage Period End Date |  |  | Date | TRUE | Indicate the coverage period end date of all mechanisms. | CoveragePeriodEndDate | CERS0085
Petroleum UST Financial Responsibility Code | Self-Insured ¦ Local Government Mechanism ¦ Guarantee ¦ Insurance ¦ Surety Bond ¦ Letter of Credit ¦ Exemption Government Owner ¦ Exemption non-Petroleum Tank ¦ State Fund and CFO letter ¦ State Fund and CD ¦ Other |  | Alphanumeric | TRUE | Select one option. USTs owned by any Federal or State agency as well as non-petroleum USTs are exempt from this requirement. | PetroleumFRCode | CERS0086
Petroleum UST Financial Responsibility Code = Other Description |  | 50 | Alphanumeric | Conditional | Method(s) used by owner and/or operator in meeting the Federal and State financial responsibility requirements. USTs owned by any Federal or State agency as well as non-petroleum USTs are exempt from this requirement. | FRCodeDescriptionOther | CERS0087
Required Aggregate Coverage | $1 million $2 million | 1 | Alphanumeric | TRUE | $1 million for 100 or fewer tanks OR $ 2 million for more than 100 tanks | ReqAggregateCoverage | CERS0088
Required Dollar Amount- Per Occurrence | $500,000 $1 million | 1 | Alphanumeric | TRUE | Financial responsibility amount per occurrence as specified in California Code of Regulations (CCR), Title 23. | RequiredDollarAmountPerOccurrence | CERS0089
Cathodic Protection System Test Date |  |  | Date | Conditional | Cathodic Protection System Test Date | CathodicProtectionSystemTestDate | CERS0090
Cathodic Protection System Test Results | Pass ¦ Fail ¦ Fail - Corrected on site ¦ Not Applicable | 1 | Alphanumeric | TRUE | Indicates the outcome of the identified test | CathodicProtectionSystemTestResults | CERS0091
Enhanced Leak Detection Test Date |  |  | Date | Conditional | Enhanced Leak Detection Test Date | EnhancedLeakDetectionTestDate | CERS0092
Enhanced Leak Detection Test Results | Pass ¦ Fail ¦ Fail - Corrected on site ¦ Not Applicable | 1 | Alphanumeric | TRUE | Indicates the outcome of the identified test | EnhancedLeakDetectionTestResults | CERS0093
Integrity Test Date |  |  | Date | Conditional | Integrity Test Date | IntegrityTestDate | CERS0094
Integrity Test Results | Pass ¦ Fail ¦ Fail - Corrected on site ¦ Not Applicable | 1 | Alphanumeric | TRUE | Indicates the outcome of the identified test | IntegrityTestResults | CERS0095
Overfill Prevention Equipment Test Date |  |  | Date | Conditional | Overfill Prevention Equipment Test Date | OverfillPreventionEquipmentTestDate | CERS0096
Overfill Prevention Equipment Test Results | Pass ¦ Fail ¦ Fail - Corrected on site ¦ Not Applicable | 1 | Alphanumeric | TRUE | Indicates the outcome of the identified test | OverfillPreventionEquipmentTestResults | CERS0097
Release Detection Equipment Test Date |  |  | Date | Conditional | Release Detection Equipment Test Date | ReleaseDetectionEquipmentTestDate | CERS0098
Release Detection Equipment Test Results | Pass ¦ Fail ¦ Fail - Corrected on site ¦ Not Applicable | 1 | Alphanumeric | TRUE | Indicates the outcome of the identified test | ReleaseDetectionEquipmentTestResults | CERS0099
Secondary Containment System Test Date |  |  | Date | Conditional | Secondary Containment System Test Date | SecondaryContainmentSystemTestDate | CERS0100
Secondary Containment System Test Results | Pass ¦ Fail ¦ Fail - Corrected on site ¦ Not Applicable | 1 | alphanumeric | TRUE | Indicates the outcome of the identified test | SecondaryContainmentSystemTestResults | CERS0101
Spill Container Test Date |  |  | Date | Conditional |  | SpillContainerTestDate | CERS0102
Spill Container Test Results | Pass ¦ Fail ¦ Fail - Corrected on site ¦ Not Applicable | 1 | Alphanumeric | TRUE | Indicates the outcome of the identified test | SpillContainerTestResults | CERS0103
Alarm Logs | Yes ¦ No | 1 | Boolean | TRUE | Indicates that alarm log records are kept for the facility. | AlarmLogs | CERS0104
ATG Model # |  | 35 | Alphanumeric | Conditional | Model of ATG panel | ATGModelNum | CERS0105
ATG Panel Manufacturer |  | 25 | Alphanumeric | Conditional | Name of ATG panel manufacturer | ATGPanelManufacturer | CERS0106
ATG Testing Results | Yes ¦ No | 1 | Boolean | TRUE | Indicates that ATG testing results and supporting documentation records are kept for the facility. | ATGTestingResults | CERS0107
Automatic Tank Gauging | Yes ¦ No | 1 | Boolean | TRUE | Indicates if this type of monitoring (automatic tank gauging) is being performed at the site. | AutomaticTankGauging | CERS0108
CERS Tank ID and Contents | Select one or more from a list of USTs at the facility including the UST's contents. | 255 | Alphanumeric | TRUE | Select one or more UST tanks at the facility (associated CERS ID) and the UST's associated contents monitored by the sensor. | CERSIDContent | CERS0109
Comments and Additional Information |  | 300 | Alphanumeric | FALSE | Additional information to support the application for an operating permit. | CommentsAdditionalInformation | CERS0110
Components Monitored | Annular Sump STP Sump Fill Sump Transitional Sump UDC Primary Containment UDC Secondary Containment Piping | 1 | Alphanumeric | TRUE | Identifies the UST component monitored by the sensor. | ComponentsMonitored | CERS0111
Continuous Electronic Tank Monitoring | Yes ¦ No | 1 | Boolean | TRUE | Indicates if continuous tank monitoring is used at the site. | ContinuousElectronicTankMonitoring | CERS0112
Continuous Monitoring of Piping Secondary Containment | Yes ¦ No | 1 | Boolean | TRUE | Indicates if continuous monitoring of the piping secondary containment occurs at the site. | ContinuousPipeSecondaryContainment | CERS0113
Corrosion Protection Logs | Yes ¦ No | 1 | Boolean | TRUE | Indicates that corrosion protection logs are kept for the facility. | CorrosionProtectionLogs | CERS0114
Corrosion Protection: Impressed Current | Yes ¦ No | 1 | Boolean | FALSE | Indicates that impressed current is used as a method of component corrosion protection. | CPImpressedCurrent | CERS0115
Corrosion Protection: Isolation | Yes ¦ No | 1 | Boolean | FALSE | Indicates that isolation is used as a method of component corrosion protection. | CPIsolation | CERS0116
Corrosion Protection: Sacrificial Anode | Yes ¦ No | 1 | Boolean | FALSE | Indicates that sacrifical anodes are used as a method of component corrosion protection. | CPSacrificialAnode | CERS0117
Designated Operator Training | Yes ¦ No | 1 | Boolean | TRUE | Indicates that the facility has a designated operator and that training will be provided. | DesignatedOperatorTraining | CERS0118
Detection of Leak into UDC Triggers Audible and Visual Alarms | Yes ¦ No | 1 | Boolean | Conditional | Indicates if alarms are triggered when a leak is detected in the under dispenser containment (UDC). | UDCDetectionOfLeak | CERS0119
ELD Testing | Yes ¦ No | 1 | Boolean | TRUE | Indicates if tanks are enhanced leak detection (ELD) tested on a periodic basis. | ELDTesting | CERS0120
Electronic Line Leak Detector Performs 3 GPH Leak Test | Yes ¦ No | 1 | Boolean | TRUE | Indicates that an electronic line leak detector (ELLD) is used at the site. | ElectronicLeakDetector | CERS0121
ELLD Failure/Disconnect Triggers Automatic Shutdown | Yes ¦ No | 1 | Boolean | Conditional | Indicates if electronic line leak detector (ELLD)triggers auto-shutdown for failure or disconnection. | ELLDFailureTriggShutdown | CERS0122
ELLD Manufacturer |  | 25 | Alphanumeric | Conditional | Manufacturer of electronic line leak detector (ELLD). | ELLDManufacturer | CERS0123
ELLD Model |  | 35 | Alphanumeric | Conditional | Model of electronic line leak detector (ELLD). | ELLDModel | CERS0124
ELLD Programmed In-Line Testing | 0.2 GPH ¦ 0.1 GPH | 2 | Alphanumeric | Conditional | Type of electronic line leak detector (ELLD) test performed. | ELLDProgrammedInLineTesting | CERS0125
ELLD Triggers Automatic Pump Shutdown | Yes ¦ No | 1 | Boolean | Conditional | Indicates if electronic line leak detector (ELLD)triggers automatic pump shutdown. | ELLDTriggersPumpShutdown | CERS0126
Equipment Maintenance and Calibration Records | Yes ¦ No | 1 | Boolean | TRUE | Indicates that equipment maintenance and calibration records are kept for the facility. | EquipmentMaintenanceCalibrationRecords | CERS0127
Failure/Disconnect Triggers Pump Shutdown | Yes ¦ No | 1 | Boolean | Conditional | Indicates pump shutdown when failure or disconnect occurs. | FailureTriggPumpShutdown | CERS0128
Failure/Disconnection of UDC Monitoring System Triggers Automatic Pump Shutdown | Yes ¦ No | 1 | Boolean | Conditional | Indicates if failure or disconnection of the under dispenser containment (UDC) monitoring system causes pump shutdown. | UDCFailureTriggShutdown | CERS0129
In-Tank Probe Manufacturer |  | 25 | Alphanumeric | Conditional | Name of ATG in-tank probe manufacturer | InTankProbManufacturer | CERS0130
In-tank Probe Model # |  | 35 | Alphanumeric | Conditional | Model number of ATG in-tank probe. | InTankProbeModelNum | CERS0131
Leak Alarm Triggers Automatic Pump Shutdown | Yes ¦ No | 1 | Boolean | Conditional | Indicates pump shutdown when a leak alarm occurs. | LeakAlarmTriggPumpShutdown | CERS0132
Leak Within Secondary Containment of UDC Causes Audible and Visual Alarms | Yes ¦ No | 1 | Boolean | Conditional | Indicates that a leak in the under dispenser containment (UDC) secondary containment causes audible and visual alarms. | LeakWithinSecondaryContainmentOfUDC | CERS0133
Mechanical Line Leak Detector Performs 3 GPH Leak Test | Yes ¦ No | 1 | Boolean | TRUE | Indicates that a 3 GPH line mechanical line leak detector is used at the site. | MechanicalLineLeakDetector | CERS0134
MLLD Manufacturer |  | 25 | Alphanumeric | Conditional | Name of leak detector manufacturer. | MLLDManufacturer | CERS0135
MLLD Model |  | 35 | Alphanumeric | Conditional | Model of leak detector. | MLLDModel | CERS0136
Monitoring Equipment Serviced | Annually ¦ Other | 2 | Alphanumeric | TRUE | Describes frequency of service performed on monitoring equipment. | MonitoringEquipmentServiced | CERS0137
Monitoring Panel Manufacturer |  | 35 | Alphanumeric | TRUE | Monitoring panel manufacturer. Required for each Monitoring Panel identified in Number of Monitoring Panels. | MonitoringPanelManufacturer | CERS0138
Monitoring Panel Model Number |  | 35 | Alphanumeric | TRUE | Monitoring panel model number. | MonitoringPanelModelNumber | CERS0139
Monthly Statistical Inventory Reconciliation | Yes ¦ No | 1 | Boolean | FALSE | Indicates if inventory reconciliation is being performed at the site. | MonthlyStatisticalInventoryReconciliation | CERS0140
No Regulated Piping Per Health and Safety Code, Division 20, Chapter 6.7 Is Connected To The Tank System | Yes ¦ No | 1 | Boolean | FALSE | Indicates that any piping connected to the tank system is not regulated under the UST law, or there is no piping connected to the tank system. | NoRegulatedPipingPerHealthSafetyCode | CERS0141
Other Leak Test Frequency |  | 10 | Alphanumeric | Conditional | Other frequency of tank leak test. | TankLeakTestFrequencyOther | CERS0142
Other Monitoring | Yes ¦ No | 1 | Boolean | FALSE | Indicates if another type of monitoring is used at the site, not already indicated. | IsOtherMonitoring | CERS0143
Other Pipeline Monitoring | Yes ¦ No | 1 | Boolean | FALSE | Indicates if other pipeline monitoring option used at site. | OtherPipeline | CERS0144
Other Programmed Tests |  | 15 | Alphanumeric | Conditional | Other designated sensitivity of programmed leak test. | ProgrammedTankTestOther | CERS0145
Personnel with UST Monitoring Responsibilities are Familiar with Training Documents | Yes ¦ No | 1 | Boolean | TRUE | Indicates that personnel within the facility are familiar with the indicated documents. | USTPersonnelFamiliarTraining | CERS0146
Pipe Leak Sensor Manufacturer |  | 20 | Alphanumeric | TRUE | Name of leak sensor manufacturer. | PipeLeakSensorManufacturer | CERS0147
Pipe Leak Sensor Model |  | 35 | Alphanumeric | TRUE | Model of leak sensor. | PipeLeakSensorModel | CERS0148
Pipeline Integrity Testing | Yes ¦ No | 1 | Boolean | FALSE | Indicates if pipeline integrity testing occurs at the site. | PiplineIntegrityTesting | CERS0149
Pipeline Integrity Testing Frequency | Annually ¦ Every 3 Years ¦ Other | 2 | Alphanumeric | Conditional | Frequency of pipeline integrity testing. | PipelineIntegrityTestingFrequency | CERS0150
Piping Secondary Containment | Dry ¦ Liquid ¦ Pressurized ¦ Under Vacuum | 2 | Alphanumeric | Conditional | Type of piping secondary containment. | PipingSecondaryContainment | CERS0151
Programmed Tank Tests | 0.1 GPH ¦ 0.2 GPH ¦ Other | 2 | Alphanumeric | Conditional | Sensitivity of the programmed leak tests. | ProgrammedTankTest | CERS0152
Secondary Containment Testing | Yes ¦ No | 1 | Boolean | TRUE | Indicates if secondary containment testing is conducted every 36 months. | SecondaryContainmentTesting | CERS0153
Sensor ID |  | 4 | alphanumeric | TRUE | <div><span>List “Sensor ID” as labeled in monitoring panel system programming.</span> | Sensor ID | CERS0154
Sensor Manufacturer |  |  | Alphanumeric | TRUE | Name of Sensor Manufacturer. | SensorManufacturer | CERS0155
Sensor Model Number |  | 50 | Alphanumeric | TRUE | The model number assigned to the sensor by the Sensor Manufacturer. | SensorModelNumber | CERS0156
SIR Testing Results | Yes ¦ No | 1 | Boolean | TRUE | Indicates that statistical inventory reconciliation (SIR) testing results and supporting documentation records are kept for the facility. | SIRTestingResults | CERS0157
Specify Other Frequency of Monitoring Equipment Service |  | 15 | Alphanumeric | Conditional | Describes other frequency of service performed on monitoring equipment. | MonitoringEquipmentServicedOther | CERS0158
Specify Other Integrity Testing Frequency |  | 10 | Alphanumeric | Conditional | Other frequency of pipeline integrity testing. | PipelineIntegrityTestingFrequencyOther | CERS0159
Specify Other Monitoring |  | 100 | Alphanumeric | Conditional | Specifies the other type of monitoring. | OtherMonitoring | CERS0160
Specify Other Pipeline Monitoring |  | 100 | Alphanumeric | Conditional | Identifies other monitoring option. | OtherPipelineMonitoring | CERS0161
Specify Other Tank Integrity Testing Frequency |  | 15 | Alphanumeric | Conditional | Frequency of other tank integrity testing. | TankIntegrityTestingFrequencyOther | CERS0162
Specify Other UDC Construction Material | Required if UDC Construction Material is Other. | 35 | Alphanumeric | Conditional | Specify other under dispenser containment (UDC) construction material. | OtherUDCConstructionMaterial | CERS0163
Specify Other UDC Monitoring |  | 15 | Alphanumeric | Conditional | Indicates type of other under dispenser containment (UDC) monitoring. | UDCMonitoringOther | CERS0164
Spill Bucket Testing | Yes ¦ No | 1 | Boolean | TRUE | Indicates if spill bucket testing is conducted annually. | SpillBucketTesting | CERS0165
Suction Piping Meets Exemption Criteria | Yes ¦ No | 1 | Boolean | FALSE | Indicates if suction piping that meets the criteria is the method to monitor the pipeline. | SuctionPipingExemptionCriteria | CERS0166
Sump Sensor Manufacturer |  |  | Alphanumeric | TRUE | Sump sensor manufacturer. | SumpSensorManufacturer | CERS0167
Sump Sensor Model Number |  |  | Alphanumeric | TRUE | Sump sensor model number. | SumpSensorModelNumber | CERS0168
Tank Gauging Results | Yes ¦ No | 1 | Boolean | TRUE | Indicates that tank gauging results and supporting documentation records are kept for the facility. | TankGaugingResults | CERS0169
Tank Gauging Test Period | 36 Hours ¦ 60 Hours | 2 | Alphanumeric | Conditional | Length of time for manual tank gauging period. | TankGaugingTestPeriod | CERS0170
Tank Integrity Testing | Yes ¦ No | 1 | Boolean | FALSE | Indicates if tank integrity testing is performed at the site. | TankIntegrityTesting | CERS0171
Tank Integrity Testing Frequency | Annually ¦ Biennially ¦ Other | 2 | Alphanumeric | Conditional | Frequency of tank integrity testing. | TankIntegrityTestingFrequency | CERS0172
Tank Integrity Testing Results | Yes ¦ No | 1 | Boolean | TRUE | Indicates that tank integrity testing results are kept for the facility. | TankIntegrityTestingResults | CERS0173
Tank Leak Sensor Manufacturer |  | 20 | Alphanumeric | Conditional | Name of leak sensor manufacturer. | LeakSensorManufacturer | CERS0174
Tank Leak Sensor Model # |  | 35 | Alphanumeric | Conditional | Model number of tank leak sensor. | LeakSensorModelNum | CERS0175
Tank Leak Test Frequency | Continuous ¦ Daily/Nightly ¦ Weekly ¦ Monthly ¦ Other | 2 | Alphanumeric | Conditional | Frequency of tank leak test. | TankLeakTestFrequency | CERS0176
Tank Secondary Containment System | 1 = Dry ¦ 2 = Liquid-Filled ¦ 3 = Pressurized ¦ 4 = Under Vacuum | 2 | Alphanumeric | Conditional | Description of Tank secondary containment system. | TankSecondaryContainmentSystem | CERS0177
Transitional Sump Comments |  | 1000 | Text | Conditional | Used to provide additional information about the Transitional Sumps at the Facility. It should be used by the Facility to identify where some Transitional Sumps may differ in construction or monitoring from others. | TransitionalSumpComments | CERS0178
Transitional Sump Construction | Single-walled, Double-walled | 2 | Alphanumeric | TRUE | Defines the construction type of the Transitional Sumps at a facility | TransitionalSump Construction | CERS0179
Transitional Sump Construction Material | Steel ¦ Fiberglass ¦ Rigid Plastic ¦ Concrete ¦ Other | 2 | Alphanumeric | TRUE | The Transitional Sump construction material. | TransitionalSumpConstructionMaterial | CERS0180
Transitional Sump Construction Type | Single-walled ¦ Double-walled | 2 | Alphanumeric | TRUE | The type of Transitional Sump construction. | TransitionalSumpConstructionType | CERS0181
Transitional Sump Secondary Containment Alarms | Yes ¦ No | 1 | Boolean | TRUE | Indicates if there are alarms for the Transitional Sump Secondary Containment | TransitionalSumpSecondaryContainmentAlarms | CERS0182
Transitional Sump Secondary Containment Monitoring | Liquid, Pressure, Vaccum | 2 | Alphanumeric | TRUE | Defines the Transitional Sump Secondary Containment monitoring type at a facility | TransitionalSumpSecondaryContainmentMonitoring | CERS0183
UDC Construction Material | Steel ¦ Fiberglass ¦ Rigid Plastic ¦ Concrete ¦ Other | 2 | Alphanumeric | Conditional | Construction material of the under dispenser containment sump(s)/pan(s). | UDCConstructionMaterial | CERS0184
UDC Construction Type | Single-walled ¦ Double-walled ¦ No Dispensers | 2 | Alphanumeric | TRUE | Type of construction of the under dispenser containment sump(s) / pan(s). | UDCConstructionType | CERS0185
UDC Leak Alarm Triggers Automatic Pump Shutdown | Yes ¦ No | 1 | Boolean | Conditional | Indicates if an under dispenser containment (UDC) leak alarm causes automatic pump shutdown. | UDCLeakAlarmTriggShutdown | CERS0186
UDC Monitoring | Continuous ¦ Electronic Stand-alone ¦ No Dispensers ¦ Other | 2 | Alphanumeric | TRUE | Indicates type of under dispenser containment (UDC) monitoring. | UDCMonitoring | CERS0187
UDC Monitoring Stops Flow of Product at Dispenser | Yes ¦ No | 1 | Boolean | Conditional | Indicates if the under dispenser containment (UDC) monitor stops the flow of product at the dispenser. | UDCMonitoringStopFlow | CERS0188
UDC Other Description |  | 1000 | Long Text | Conditional | Used to provide additional information about UDCs at the Facility. It should be used by the Facility to identify where some UDCs may differ in construction or monitoring from others. | UDCDescriptionOther | CERS0189
UDC Secondary Containment Monitoring | Liquid ¦ Pressure ¦ Vacuum | 2 | Alphanumeric | Conditional | Type of under dispenser containment (UDC) secondary containment monitoring. &nbsp;Complete for each UDC identified by Under Dispenser Containment (UDC) Count. | UDCSecondaryContainmentMonitoring | CERS0190
UST Remotely Monitored | Yes ¦ No | 1 | Boolean | TRUE | Indicate if any component of the UST is remotely monitored per the definition of CCR Title 23 Chapter 16. | USTRemotelyMonitored | CERS0191
Vent Piping Transition Sumps | Single-walled ¦ Double-walled ¦ None | 2 | Alphanumeric | TRUE | Type of vent piping transition sumps. | VPTransitionSumps | CERS0192
Visual Inspection Records | Yes ¦ No | 1 | Boolean | TRUE | Indicates that visual inspection records are kept for the facility. | VisualInspectionRecords | CERS0193
Visual Pipeline Monitoring | Yes ¦ No | 1 | Boolean | FALSE | Indicates if visual pipeline monitoring occurs at the site. | VisualPipelineMonitoring | CERS0194
Visual Pipeline Monitoring Frequency | Daily ¦ Weekly ¦ Minimum Monthly | 2 | Alphanumeric | Conditional | Frequency of visual pipeline monitoring. | VisualPipelineMonitoringFrequency | CERS0195
Weekly Manual Tank Guage | Yes ¦ No | 1 | Boolean | FALSE | Indicates if weekly manual tank gauging is being performed at this site. | WeeklyManualTankGauge | CERS0196
Additional Description |  | 500 | Alphanumeric | FALSE | Additional tank or location description/information. | AdditionalDescription | CERS0197
Closure Type | Permanently Closed In Place Removed Erroneously Created | 1 | Alphanumeric | TRUE | provides the reason for the closure of a UST. | ClosureType | CERS0198
Corrosion Protection | Sacrificial Anode ¦ Impressed Current ¦ Isolation. | 2 | Alphanumeric | TRUE | The type of corrosion protection that is used for the tank. | CorrosionProtection | CERS0199
Date UST Abandoned |  | 10 | Date | Conditional | Date the existing UST was discovered or the date the owner 'walked away'. | ExistingUSTDiscoveredDate | CERS0200
Date UST Permanently Closed |  | 10 | Date | Conditional | Date the UST was permanently closed. | USTPermanentlyClosedDate | CERS0201
Date UST System Installed |  | 10 | Date | TRUE | The date the tank installation was completed. &nbsp;If the actual date is not known, the first day of the month the installation was completed may be used. | USTSystemInstalledDate | CERS0202
Date UST Temporarily Closed |  |  | Date | Conditional | Used in the UST Action Submittal type &quot;Temporary Close | USTTemporarilyClosedDate | CERS0203
Fill Components Installed | Spill Bucket ¦ Striker Plate / Bottom Protector ¦ Containment Sump | 2 | Alphanumeric | TRUE | Identify Fill Components Installed | FillComponentsInstalled | CERS0204
Number of Compartments in the Unit | Cannot be 0 or 1. Can be Null. Can be greater than or equal to 2. | 2 | Numeric | TRUE | Number of compartments within a single secondary containment unit if more than one. (Please Note: Each compartment of a compartmented tank is considered a separate UST.) | NumberOfCompartments | CERS0205
Overfill Prevention Mechanism | Audible/Visual Alarms ¦ Ball Float ¦ Fill Tube Shut-Off Valve ¦ Exempt | 2 | Alphanumeric | TRUE | Primary overfill prevention mechanism. | OverfillPreventionMechanism | CERS0206
Piping Construction | Single-walled ¦ Double-walled ¦ Other | 2 | Alphanumeric | TRUE | Type of underground piping construction. | PipingConstruction | CERS0207
Piping System Type | Pressure ¦ Gravity ¦ Conventional Suction ¦ 23 CCR §2636(a)(3) Suction | 2 | Alphanumeric | TRUE | Type of underground piping system. | PipingSystemType | CERS0208
Product/Waste Piping Primary Containment Construction | Steel ¦ Fiberglass ¦ Flexible ¦ Rigid Plastic ¦ None ¦ Unknown ¦ Other | 2 | Alphanumeric | TRUE | Construction material of the primary product/waste piping. | PWPipingPCConstruction | CERS0209
Product/Waste Piping Secondary Containment Construction | Steel ¦ Fiberglass ¦ Flexible ¦ Rigid Plastic ¦ None ¦ Unknown ¦ Other | 2 | Alphanumeric | TRUE | Construction material of the secondary product/waste piping. | PWPipingSCConstruction | CERS0210
Riser Pipe Primary Containment Construction | Steel ¦ Fiberglass ¦ Rigid Plastic ¦ None ¦ Other | 2 | Alphanumeric | TRUE | Construction material of the primary riser piping. | RPPCConstruction | CERS0211
Riser Pipe Secondary Containment Construction | Steel ¦ Fiberglass ¦ Rigid Plastic ¦ None ¦ Other | 2 | Alphanumeric | TRUE | Construction material of the riser pipe secondary containment. | RPSCConstruction | CERS0212
Specify Other Non-Petroleum |  | 35 | Alphanumeric | Conditional | Specify other non-petroleum contents. | OtherNonPetroleum | CERS0213
Specify Other Petroleum |  | 35 | Alphanumeric | Conditional | Specify other petroleum contents. | OtherPetroleum | CERS0214
Specify Other Primary Containment Construction |  | 35 | Alphanumeric | Conditional | Specify other construction of the primary containment. | OtherPCConstruction | CERS0215
Specify Other Product/Waste Piping Primary Containment Construction |  | 35 | Alphanumeric | Conditional | Describe other construction material for the primary containment. | OtherPipingPCConstruction | CERS0216
Specify Other Product/Waste Piping Secondary Containment Construction |  | 35 | Alphanumeric | Conditional | Describe other construction. | OtherPipingSCConstruction | CERS0217
Specify Other Riser Pipe Primary Containment Construction |  | 35 | Alphanumeric | Conditional | Describe other riser pipe primary containment construction material. | OtherRPPCConstruction | CERS0218
Specify Other Riser Pipe Secondary Containment Construction |  | 35 | Alphanumeric | Conditional | Describe other riser pipe secondary containment construction material. | OtherRPSCConstruction | CERS0219
Specify Other Secondary Containment Construction |  | 35 | Alphanumeric | Conditional | Specify other construction of the secondary containment. | OtherSCConstruction | CERS0220
Specify Other Tank Use |  | 35 | Alphanumeric | Conditional | Specify other tank use. | OtherTankUse | CERS0221
Specify Other Vapor Recovery Piping Primary Containment Construction |  | 35 | Alphanumeric | Conditional | Describe other vapor recovery primary containment construction material. | OtherVRPCConstruction | CERS0222
Specify Other Vapor Recovery Piping Secondary Containment Construction |  | 35 | Alphanumeric | Conditional | Describe other vapor recovery secondary containment construction material. | OtherVRSCConstruction | CERS0223
Specify Other Vent Piping Primary Containment Construction |  | 35 | Alphanumeric | Conditional | Describe other vent primary containment construction material. | OtherVPPCConstruction | CERS0224
Specify Other Vent Piping Secondary Containment Construction |  | 35 | Alphanumeric | Conditional | Describe other vent secondary containment construction material. | OtherVSCConstruction | CERS0225
Tank Capacity In Gallons |  | 7 | Numeric | TRUE | The number of gallons the tank will hold. (Please Note: In a compartmented tank, since each compartment is a separate tank, list the number of gallons that the compartment will hold.) | TankCapacityInGallons | CERS0226
Tank Contents | Regular Unleaded ¦ Midgrade Unleaded ¦ Premium Unleaded ¦ E15 ¦ Petroleum Blend Fuel ¦ Diesel ¦ Biodiesel B21 – B99 ¦ Used Oil ¦ Ethanol ¦ Other Petroleum ¦ Other Non-Petroleum | 2 | Alphanumeric | TRUE | Substance stored in UST or tank compartment. | TankContents | CERS0227
Tank Manufacturer |  | 30 | Alphanumeric | TRUE | Name of company that manufactured tank. | TankManufacturer | CERS0228
Tank Primary Containment Construction | Steel ¦ Fiberglass ¦ Internal Bladder ¦ Steel + Internal Lining ¦ Unknown ¦ Other | 2 | Alphanumeric | TRUE | Construction material of the primary tank. | TankPCConstruction | CERS0229
Tank Secondary Containment Construction | Steel ¦ Fiberglass ¦ Exterior Membrane Liner ¦ None ¦ Unknown ¦ &nbsp;Other | 2 | Alphanumeric | TRUE | Construction material of the secondary tank. | TankSCConstruction | CERS0230
Tank Use | Motor Vehicle Fueling ¦ Marina Fueling ¦ Aviation Fueling ¦ Chemical Product Storage ¦ Hazardous Waste (includes used oil) ¦ Emergency Generator Fuel ¦ Other Generator Fuel ¦ Airport Hydrant System ¦ Unknown ¦ Other | 2 | Alphanumeric | TRUE | Activity that the tank use supports. | TankUse | CERS0231
Type of Tank | Single Wall ¦ Double Wall ¦ Unknown | 2 | Alphanumeric | TRUE | Type of tank construction. | TypeOfTank | CERS0232
UST Transfer Date |  |  | Date | TRUE | The date the UST Action Submittal to transfer the UST is accepted by a Regulator. | USTTransferDate | CERS0233
Vapor Recovery Piping Primary Containment Construction | Steel ¦ Fiberglass ¦ Rigid Plastic ¦ None ¦ Other | 2 | Alphanumeric | TRUE | Construction material of the primary vapor recovery piping. | VRPipingPCConstruction | CERS0234
Vapor Recovery Piping Secondary Containment Construction | Steel ¦ Fiberglass ¦ Rigid Plastic ¦ None ¦ Other | 2 | Alphanumeric | TRUE | Construction material of the secondary vapor recovery piping. | VRPipingSCConstruction | CERS0235
Vent Piping Primary Containment Construction | Steel ¦ Fiberglass ¦ Rigid Plastic ¦ None ¦Other | 2 | Alphanumeric | TRUE | Construction material of the primary vent piping. | VPPCConstruction | CERS0236
Vent Piping Secondary Containment Construction | Steel ¦ Fiberglass ¦ Rigid Plastic ¦ None¦ Other | 2 | Alphanumeric | TRUE | Construction material of the secondary vent piping. | VPSCConstruction | CERS0237